SECTION 07 52 16.11 - SBS MODIFIED BITUMINOUS MEMBRANE ROOFING, HOT-APPLIED

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

      - SUMMARY

        - Section Includes:

          - Supply all labor, transportation, tools, and permits necessary for removal and replacement of existing roofing system.

            - All roofing applications shall be in accordance with specifications provided.

            - Contractor shall verify roof construction and square footage.

            - The roofing contractor shall perform appropriate inspections, surveys and file timely notifications to proper authorities prior to starting roof renovation or demolition.  Inspectors, project planners, project managers, subcontractors and workers involved in the roof project shall have appropriate training, licenses and registrations.

            - Contractor is responsible for ensuring all roof drains included in the specified roof replacement work are free flowing.  Notify Saint Louis Public Schools if roof drains are found slow or inoperative prior to the project start.

          - Complete removal of existing roofing system including flashings and accessories down to underlying wood substrate (Gym Roof) and lightweight concrete deck (Lower Gym Roof).

          - GYMNASIUM ROOF:

            - Prepare the roof substrate prior to installing the new roof system.  Sweep loose debris from the roof surface.

            - Roofing contractor is responsible for ensuring that the new roof system including the composite decking achieves an R-value of R-20.

            - Lay rosin paper to the wood substrate.

            - Mechanically attach G2 asphalt coated fiberglass base sheet over the rosin paper.  Mechanically fasten base sheet per manufacturer’s instruction and FM Global guidelines.

            - Install tapered insulation between drains, along walls, and at high sides of roof curbs to promote positive drainage.  Adhere tapered insulation in full application of hot asphalt.  Roofing contractor is responsible for the elimination of ponding water along valley lines.

            - Install ½ inch layer of 6 sided coated wood fiber insulation board.  Adhere insulation to the base sheet in full application of hot asphalt.  Walk boards into adhesive immediately after installation to achieve solid contact.

            - Install fibered cants at all horizontal/vertical interfaces, adhered in hot asphalt.

            - Install 4’ x 4’ sump to drains using tapered edge strips.

            - Install modified bitumen roofing system with granular surfaced flashing and accessories.

              - Install G2 asphalt coated fiberglass base sheet to the insulation, adhered in full application of hot asphalt.  Shingle ply laps in direction to shed water.

              - Install 2 plies of type IV fiberglass felts in full application of hot asphalt.  Install plies in shingle fashion.

              - Install granule surfaced, modified bitumen membrane adhered in full application of hot asphalt.  Immediately broadcast new, clean roofing granules to cover any bleed out of material for uniform appearance.

            - Install 2 ply base flashings, including a G2 asphalt coated fiberglass base sheet and a granule surfaced, modified bitumen membrane, adhered in manufacturer’s approved cold adhesive.

              - Secure top edge of cap flashing membrane with a metal termination bar.  Seal termination bar with a bead of manufacturer’s approved sealant.

              - Seal base flashing laps with asphalt mastic and reinforcement membrane.  Coat exposed mastic with aluminum reflective coating.

            - Install new lead flashings at roof drains and plumbing stack locations.

            - Replace broken roof drain components with new cast iron drain rings, clamps, and strainers at roof drain bowl locations.

            - Install all sheet metal details per SMACNA guidelines and standards.

              - Perimeter counterflashing can be reused if kept in operating condition.

            - Install modified bitumen walkway paths around serviceable equipment and at roof access point.

          - LOWER GYM ROOF:

            - The existing decking consists of lightweight concrete.  The roofing contractor shall schedule fastener pullout tests to determine and record pullout values.  Testing to be performed by an approved fastener manufacturer.  Submit test report prior to project start.

            - Prepare the roof substrate prior to installing the new roof system.  Sweep loose debris from the roof surface.

            - Roofing contractor is responsible for ensuring that the new roof system including the lightweight concrete decking achieves an R-value of R-20.

            - Mechanically attach venting base sheet.  Mechanically fasten venting base sheet per manufacturer’s instruction and FM Global guidelines.

            - Install tapered insulation between drains, along walls, and at high sides of roof curbs to promote positive drainage.  Adhere tapered insulation in full application of hot asphalt.  Roofing contractor is responsible for the elimination of ponding water along valley lines.

            - Install ½ inch layer of 6 sided coated wood fiber insulation board.  Adhere insulation to the base sheet in full application of hot asphalt.  Walk boards into adhesive immediately after installation to achieve solid contact.

            - Install fibered cants at all horizontal/vertical interfaces, adhered in hot asphalt.

            - Install 4’ x 4’ sump to drains using tapered edge strips.

            - Install modified bitumen roofing system with granular surfaced flashing and accessories.

              - Install G2 asphalt coated fiberglass base sheet to the insulation, adhered in full application of hot asphalt.  Shingle ply laps in direction to shed water.

              - Install 2 plies of type IV fiberglass felts in full application of hot asphalt.  Install plies in shingle fashion.

              - Install granule surfaced, modified bitumen membrane adhered in full application of hot asphalt.  Immediately broadcast new, clean roofing granules to cover any bleed out of material for uniform appearance.

            - Install 2 ply base flashings, including a G2 asphalt coated fiberglass base sheet and a granule surfaced, modified bitumen membrane, adhered in manufacturer’s approved cold adhesive.

              - Secure top edge of cap flashing membrane with a metal termination bar.  Seal termination bar with a bead of manufacturer’s approved sealant.

              - Seal base flashing laps with asphalt mastic and reinforcement membrane.  Coat exposed mastic with aluminum reflective coating.

            - Install new lead flashings at roof drains and plumbing stack locations.

            - Replace broken roof drain components with new cast iron drain rings, clamps, and strainers at roof drain bowl locations.

            - Install all sheet metal details per SMACNA guidelines and standards.

              - Perimeter counterflashing can be reused if kept in operating condition.

            - Install modified bitumen walkway paths around serviceable equipment and at roof access point.

        - Related Sections:

          - Division 06 Section " Miscellaneous Rough Carpentry" for wood nailers, wood cants, curbs, and blocking.

          - Division 07 Section "Sheet Metal Flashing and Trim" for custom metal roof penetration flashings, flashings, and counterflashings.

          - Division 07 Section "Roof Specialties" for manufactured copings, roof edge flashings, roof edge drainage systems, counterflashings, and reglets.

      - DEFINITIONS

        - Roofing Terminology:  See ASTM D 1079 and glossary of NRCA's "The NRCA Roofing and Waterproofing Manual" for definition of terms related to roofing work in this Section.

        - Hot Roofing Asphalt:  Roofing asphalt heated to its equiviscous temperature, the temperature at which its viscosity is 125 centipoise for mop-applied roofing asphalt and 75 centipoise for mechanical spreader-applied roofing asphalt, within a range of plus or minus 25 deg F, measured at the mop cart or mechanical spreader immediately before application.

      - PERFORMANCE REQUIREMENTS

        - General Performance:  Installed membrane roofing and base flashings shall withstand specified uplift pressures, thermally induced movement, and exposure to weather without failure due to defective manufacture, fabrication, installation, or other defects in construction.  Membrane roofing and base flashings shall remain watertight.

          - Accelerated Weathering:  Roofing system shall withstand 2000 hours of exposure when tested according to ASTM G 152, ASTM G 154, or ASTM G 155.

          - Impact Resistance:  Roofing system shall resist impact damage when tested according to ASTM D 3746 or ASTM D 4272.

        - Material Compatibility:  Provide roofing materials that are compatible with one another under conditions of service and application required, as demonstrated by membrane roofing manufacturer based on testing and field experience.

        - FM Global Listing:  Roofing, base flashings, and component materials shall comply with requirements in FM Global 4450 or FM Global 4470 as part of a roofing system.  Identify materials with FM Global markings.

          - Fire/Windstorm Classification:  Class 1A-90.

          - Hail Resistance Rating:  SH.

        - Flashings and Fastening: Comply with requirements of Division 07 Sections “Sheet Metal Flashing and Trim” and “Roof Specialties.” Provide base flashings, perimeter flashings, detail flashings and component materials and installation techniques that comply with requirements and recommendations of the following:

          - FM Global  1-29:  Loss Prevention Data Sheet for Above Deck Roof Components.

          - NRCA Roofing Manual (Sixth Edition) for construction details and recommendations.

          - SMACNA Architectural Sheet Metal Manual (Seventh Edition) for construction details.

        - Energy Star Listing:  Roofing system shall be listed on the DOE's ENERGY STAR "Roof Products Qualified Product List" for low-slope roof products.

      - ACTION SUBMITTALS

        - Product Data:  For each type of product indicated.

        - Shop Drawings:  For roofing system.  Include plans, elevations, sections, details, and attachments to other work. Provide roof plan showing orientation and types of roof deck, orientation of membrane roofing, and fastening spacings and patterns for mechanically fastened components.

          - Base flashings and built-up terminations.

            - Indicate details meet requirements of NRCA and FMG required by this Section.

          - Crickets, saddles, and tapered edge strips, including slopes.

          - Insulation fastening patterns for corner, perimeter, and field-of-roof locations.

        - Samples for Verification:  For the following products:

          - 8-by-10-inch heet roofing materials, including base sheet base-ply sheet, roofing membrane sheet, flashing backer sheet, membrane cap sheet, and flashing sheet, of color specified.

          - 8-by-10-inch  square of roof insulation.

          - Walkway pads.

          - Six insulation fasteners of each type, length, and finish.

      - INFORMATIONAL SUBMITTALS

        - Contractor's Product Certificate: Submit notarized certificate, indicating products intended for Work of this Section, including product names and numbers and manufacturers’ names, with statement indicating that products to be provided meet the requirements of the Contract Documents.

        - Qualification Data: For Installer, Manufacturer, and Roofing Inspector.

          - Include letter from Manufacturer written for this Project indicating approval of Installer.

        - Manufacturer Certificates:  Signed by roofing manufacturer certifying that roofing system complies with requirements specified in "Performance Requirements" Article.

          - Submit evidence of compliance with performance requirements.

          - Indicate that proposed system components are compatible.

        - Product Test Reports:  Based on evaluation of comprehensive tests performed by manufacturer and witnessed by a qualified testing agency, for components of built-up roofing.

        - Research/Evaluation Reports:  For components of built-up roofing, from ICC-ES.

        - Warranties:  Unexecuted sample copies of special warranties.

        - Inspection Reports:  Daily reports of Roofing Inspector. Include weather conditions, description of work performed, tests performed, defective work observed, and corrective actions taken to correct defective work.

      - CLOSEOUT SUBMITTALS

        - Maintenance Data:  To include in maintenance manuals.

      - QUALITY ASSURANCE

        - Installer Qualifications:  An employer of workers trained and certified by manufacturer, including a full-time on-site supervisor with a minimum of three years experience installing products comparable to those specified, able to communicate verbally with Contractor, Architect, and employees, and qualified by the manufacturer to install manufacturer's product and furnish warranty of type specified.

        - Manufacturer Qualifications:  Approved manufacturer listed in this Section, UL listed FM Approvals approved for roofing systems identical to that specified for this Project, with minimum five years experience in manufacture of specified products in successful use in similar applications.

          - Approval of Comparable Products:  Submit the following in accordance with project substitution requirements, within time allowed for substitution review:

            - Product data, including certified independent test data indicating compliance with requirements.

            - Samples of each component.

            - Sample submittal from similar project.

            - Project references:  Minimum of five installations of specified products not less than five years old, with Owner and Architect contact information.

            - Sample warranty.

          - Substitutions following award of contract are not allowed except as stipulated in Division 01 General Requirements.

          - Approved manufacturers must meet separate requirements of Submittals Article.

        - Roofing Inspector Qualifications:  A technical representative of manufacturer not engaged in the sale of products and experienced in the installation and maintenance of the specified roofing system, qualified to perform roofing observation and inspection specified in Field Quality Control Article, to determine Installer’s compliance with the requirements of this Project, and approved by the manufacturer to issue warranty certification. The Roofing Inspector shall be one of the following:

          - An authorized full-time technical employee of the manufacturer.

          - An independent party certified as a Registered Roof Observer by the Roof Consultants Institute, retained by the Contractor or the Manufacturer and approved by the Manufacturer.

        - Preliminary Roofing Conference:  Before starting roof deck construction, conduct conference at Project site.

          - Meet with Owner, Architect, roofing Installer, roofing system manufacturer's representative, and installers whose work interfaces with or affects roofing, including installers of roof accessories and roof-mounted equipment.

          - Review methods and procedures related to roofing installation, including manufacturer's written instructions.

          - Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Review deck substrate requirements for conditions and finishes, including flatness and fastening.

          - Review structural loading limitations of roof deck during and after roofing.

          - Review base flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect roofing system.

          - Review governing regulations and requirements for insurance and certificates if applicable.

          - Review temporary protection requirements for roofing system during and after installation.

        - Preinstallation Roofing Conference:  Conduct conference at Project site.

          - Meet with Owner, Architect, roofing Installer, roofing system manufacturer's representative,, and installers whose work interfaces with or affects roofing, including installers of roof accessories and roof-mounted equipment.

          - Review methods and procedures related to roofing installation, including manufacturer's written instructions.

          - Review and finalize construction schedule and verify availability of materials, Installer's personnel, equipment, and facilities needed to make progress and avoid delays.

          - Examine deck substrate conditions and finishes for compliance with requirements, including flatness and fastening.

          - Review structural loading limitations of roof deck during and after roofing.

          - Review base flashings, special roofing details, roof drainage, roof penetrations, equipment curbs, and condition of other construction that will affect roofing system.

          - Review governing regulations and requirements for insurance and certificates if applicable.

          - Review temporary protection requirements for roofing system during and after installation.

      - DELIVERY, STORAGE, AND HANDLING

        - Deliver roofing materials to Project site in original containers with seals unbroken and labeled with manufacturer's name, product brand name and type, date of manufacture, approval or listing agency markings, and directions for storing and mixing with other components.

        - Store liquid materials in their original undamaged containers in a clean, dry, protected location and within the temperature range required by roofing system manufacturer.  Protect stored liquid material from direct sunlight.

          - Discard and legally dispose of liquid material that cannot be applied within its stated shelf life.

        - Protect roof insulation materials from physical damage and from deterioration by sunlight, moisture, soiling, and other sources.  Store in a dry location.  Comply with insulation manufacturer's written instructions for handling, storing, and protecting during installation.

        - Handle and store roofing materials and place equipment in a manner to avoid permanent deflection of deck.

      - PROJECT CONDITIONS

        - Weather Limitations:  Proceed with installation only when existing and forecasted weather conditions permit roofing system to be installed according to manufacturer's written instructions and warranty requirements.

      - WARRANTY

        - Warranty, General:  Warranties specified shall be in addition to, and run concurrent with, other warranties required by the Contract Documents. Manufacturer's disclaimers and limitations on product warranties do not relieve Contractor of obligations under requirements of the Contract Documents.

        - Special Warranty:  Manufacturer's standard or customized form, without monetary limitation, in which manufacturer agrees to repair or replace components of built-up roofing that fail in materials or workmanship within specified warranty period. Failure includes roof leaks.

          - Special warranty includes roofing membrane, base flashings, roofing membrane accessories roof insulation fasteners cover boards walkway products and other components of built-up roofing.

          - Warranty Period:  15 years from date of Substantial Completion.

        - Installer's Warranty:  Submit roofing Installer's warranty, on warranty form at end of this Section, signed by Installer, covering the Work of this Section and related Sections indicated above, including all components of built-up roofing such as built-up roofing membrane, base flashing, roof insulation, fasteners, cover boards, substrate boards, vapor retarders, roof pavers, and walkway products, for the following warranty period:

          - Warranty Period:  Two years from date of Substantial Completion.

- PRODUCTS

      - MANUFACTURERS

        - Available Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

            - Firestone Building Products.

            - Garland Company, Inc. (The).

            - Johns Manville.

            - Siplast, Inc.

            - Soprema.

            - Tremco Incorporated.

      - BASE-SHEET ATTACHMENT TO DECK MATERIALS

        - Gymnasium Roof Section: Sheathing Paper:  Red-rosin type, minimum 3 lb/100 sq. ft. (0.16 kg/sq. m.)

        - Gymnasium Roof Section: Base Sheet:  ASTM D 4601, Type  II, nonperforated, asphalt-impregnated and -coated, glass-fiber sheet, dusted with fine mineral surfacing on both sides.

        - Lower Gym Roof Section: Base Sheet:  ASTM D 4897, Type II, venting, nonperforated, heavyweight, asphalt-impregnated and coated, glass-fiber base sheet with coarse granular surfacing or embossed venting channels on bottom surface.

      - BASE-SHEET MATERIALS

        - Base Sheet:  ASTM D 4601, Type  II, nonperforated, asphalt-impregnated and -coated, glass-fiber sheet, dusted with fine mineral surfacing on both sides.

      - ROOFING MEMBRANE PLY SHEETS

        - Ply Sheet:  ASTM D 2178, Type IV, asphalt-impregnated, glass-fiber felt.

      - ROOFING MEMBRANE CAP SHEETS, SBS-MODIFIED BITUMEN

        - Roofing Membrane Cap Sheet: ASTM D 6163, Grade G, Type II, glass-fiber-reinforced, SBS/SEBS/SIS modified asphalt sheet; granular surfaced; suitable for application method specified, and as follows:

          - Exterior Fire-Test Exposure, ASTM E 108:  Class A.

          - Tensile Strength at 73 deg. F (23 deg. C), minimum, ASTM D 5147:  machine direction 140 lbf/in (24 kN/m); cross machine direction 140 lbf/in (24 kN/m).

          - Tear Strength at 73 deg. F (23 deg. C), minimum, ASTM D 5147:  machine direction, 200 lbf (880 N); cross machine direction 200 lbf (880 N).

          - Elongation at 73 deg. F (23 deg. C), minimum, at 5 percent maximum load ASTM D 5147:  machine direction 40 percent; cross machine direction 40 percent.

          - Low Temperature Flex, maximum, ASTM D 5147:  -25 deg. F (-31 deg. C).

          - Thickness, minimum, ASTM D 5147:  0.130 inch (3.3 mm).

      - BASE FLASHING SHEETS

        - Backer Sheet:  ASTM D 4601, Type  II, asphalt-impregnated and coated, glass-fiber sheet, dusted with fine mineral surfacing on both sides.

        - Flashing Sheet: ASTM D 6163, Grade G, Type II, glass-fiber-reinforced, SBS/SEBS/SIS modified asphalt sheet; granular surfaced; suitable for application method specified, and as follows:

          - Exterior Fire-Test Exposure, ASTM E 108:  Class A.

          - Tensile Strength at 73 deg. F (23 deg. C), minimum, ASTM D 5147:  machine direction 140 lbf/in (24 kN/m); cross machine direction 140 lbf/in (24 kN/m).

          - Tear Strength at 73 deg. F (23 deg. C), minimum, ASTM D 5147:  machine direction, 200 lbf (880 N); cross machine direction 200 lbf (880 N).

          - Elongation at 73 deg. F (23 deg. C), minimum, at 5 percent maximum load ASTM D 5147:  machine direction 40 percent; cross machine direction 40 percent.

          - Low Temperature Flex, maximum, ASTM D 5147:  -25 deg. F (-31 deg. C).

          - Thickness, minimum, ASTM D 5147:  0.130 inch (3.3 mm).

        - Glass-Fiber Fabric:  Woven glass-fiber cloth, treated with asphalt, complying with ASTM D 1668, Type I.

      - ASPHALT MATERIALS

        - Roofing Asphalt:  ASTM D 312, Type III or IV as recommended by built-up roofing system manufacturer for application.

      - AUXILIARY ROOFING MEMBRANE MATERIALS

        - General:  Auxiliary materials recommended by roofing system manufacturer for intended use and compatible with roofing membrane.

          - Liquid-type auxiliary materials shall comply with VOC limits of authorities having jurisdiction.

        - Cold-Applied Adhesive:  Roofing system manufacturer's standard asphalt-based, one- or two-part, asbestos-free, cold-applied adhesive specially formulated for compatibility and use with built-up roofing base flashings.

        - Asphalt Roofing Cement:  ASTM D 4586, asbestos free, of consistency required by roofing system manufacturer for application.

        - Mastic Sealant:  Polyisobutylene, plain or modified bitumen, nonhardening, nonmigrating, nonskinning, and nondrying.

        - Fasteners:  Factory-coated steel fasteners and metal or plastic plates meeting corrosion-resistance provisions in FMG 4470, designed for fastening roofing membrane components to substrate, tested by manufacturer for required pullout strength, and acceptable to roofing system manufacturer.

        - Metal Flashing Sheet:  Metal flashing sheet is specified in Division 7 Section "Sheet Metal Flashing and Trim."

        - Miscellaneous Accessories:  Provide miscellaneous accessories recommended by roofing system manufacturer.

      - ROOF INSULATION

        - General:  Provide preformed roof insulation boards that comply with requirements and referenced standards, selected from manufacturer's standard sizes and of thicknesses indicated.

        - Cover Board:  ASTM C 208, Type II, Grade 2, Cellulosic-fiber and water-resistant binders, asphalt coated on six sides and chemically treated for deterioration.

        - Provide preformed saddles, crickets, tapered edge strips, and other insulation shapes where indicated for sloping to drain.  Fabricate to slopes indicated.

      - INSULATION ACCESSORIES

        - General:  Preformed roof insulation boards manufactured or approved by roofing manufacturer, selected from manufacturer's standard sizes suitable for application, of thicknesses indicated and that produce FM Global-approved roof insulation.

        - Fasteners:  Factory-coated steel fasteners and metal or plastic plates meeting corrosion-resistance provisions in FMG 4470, designed for fastening roof insulation to substrate, and acceptable to roofing system manufacturer.

        - Roofing Asphalt:  ASTM D 312, Type III or IV as recommended by built-up roofing system manufacturer for application.

        - Insulation Cant Strips:  ASTM C 208, Type II, Grade 1, cellulosic-fiber insulation board.

        - Tapered Edge Strips:  ASTM C 208, Type II, Grade 1, cellulosic-fiber insulation board.

        - Substrate Joint Tape:  6- or 8-inch- wide, coated, glass-fiber joint tape.

      - COATING MATERIALS

        - Roof Coating:  ASTM D 2824, Type  III, fibered, asbestos-free aluminum-pigmented asphaltic coating.

      - WALKWAYS

        - Cap Sheet: ASTM D 6163, Grade G, Type II, glass-fiber-reinforced, SBS/SEBS/SIS modified asphalt sheet; granular surfaced; suitable for application method specified, and as follows:

          - Exterior Fire-Test Exposure, ASTM E 108:  Class A.

          - Tensile Strength at 73 deg. F (23 deg. C), minimum, ASTM D 5147:  machine direction 140 lbf/in (24 kN/m); cross machine direction 140 lbf/in (24 kN/m).

          - Tear Strength at 73 deg. F (23 deg. C), minimum, ASTM D 5147:  machine direction, 200 lbf (880 N); cross machine direction 200 lbf (880 N).

          - Elongation at 73 deg. F (23 deg. C), minimum, at 5 percent maximum load ASTM D 5147:  machine direction 40 percent; cross machine direction 40 percent.

          - Low Temperature Flex, maximum, ASTM D 5147:  -25 deg. F (-31 deg. C).

          - Thickness, minimum, ASTM D 5147:  0.130 inch (3.3 mm).

- EXECUTION

      - EXAMINATION

        - Examine substrates, areas, and conditions, with Installer present, for compliance with the following requirements and other conditions affecting performance of roofing system:

          - Verify that roof openings and penetrations are in place and curbs are set and braced and that roof drain bodies are securely clamped in place.

          - Verify that deck is securely fastened with no projecting fasteners and with no adjacent units in excess of 1/16 inch  out of plane relative to adjoining deck.

          - Verify that existing substrate is sound and dry.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - PREPARATION

        - Clean substrate of dust, debris, moisture, and other substances detrimental to roofing installation according to roofing system manufacturer's written instructions.  Remove sharp projections.

        - Prevent materials from entering and clogging roof drains and conductors and from spilling or migrating onto surfaces of other construction.  Remove roof-drain plugs when no work is taking place or when rain is forecast.

      - INSTALLATION, GENERAL

        - Install roofing system in accordance with manufacturer’s recommendations.

        - Install roofing membrane, base flashings, and component materials in compliance with requirements in FMG 4450 and FMG 4470 as part of a membrane roofing system as listed in FMG’s “Approval Guide” for fire/windstorm classification indicated. Comply with recommendations in FMG Loss Prevention Data Sheet 1-49, including requirements for wood nailers and cants.

      - INSULATION INSTALLATION

        - Comply with built-up roofing manufacturer's written instructions for installing roof insulation.

        - Install one lapped base sheet course and mechanically fasten to substrate according to built-up roofing manufacturer's written instructions.

        - Cant Strips:  Install and secure preformed 45-degree cant strips at junctures of built-up roofing with vertical surfaces or angle changes greater than 45 degrees.

        - Install tapered insulation under area of roofing to conform to slopes indicated.

        - Install insulation with long joints of insulation in a continuous straight line with end joints staggered between rows, abutting edges and ends between boards.  Fill gaps exceeding 1/4 inch  with insulation.

          - Cut and fit insulation within 1/4 inch  of nailers, projections, and penetrations.

        - Install insulation under area of roofing to achieve required thickness.  Where overall insulation thickness is 2.7 inches  or greater, install two or more layers with joints of each succeeding layer staggered from joints of previous layer a minimum of 6 inches  in each direction.

          - Install insulation at minimum thickness of 1/2 inch.

        - Trim surface of insulation where necessary at roof drains so completed surface is flush and does not restrict flow of water.

        - Install tapered edge strips at perimeter edges of roof that do not terminate at vertical surfaces.

        - Adhered Insulation:  Install each layer of insulation and adhere to substrate as follows:

          - Set each layer of insulation in a solid mopping of hot roofing asphalt, applied within plus or minus 25 deg F  of equiviscous temperature.

      - ROOFING MEMBRANE INSTALLATION, GENERAL

        - Install roofing membrane system according to roofing system manufacturer's written instructions and applicable recommendations in ARMA/NRCA's "Quality Control Guidelines for the Application of Polymer Modified Bitumen Roofing" and as follows:

          - Adhering Method:  M (mopped).

          - Base Sheet:  One.

          - Number of Glass-Fiber Ply Sheets:  Two.

          - Number of SBS-Modified Asphalt Sheets:  One.

          - Sheet Surfacing Type:  M (mineral-granule-surfaced cap sheet).

        - Start installation of roofing membrane in presence of roofing system manufacturer's technical personnel.

        - Cooperate with testing agencies engaged or required to perform services for installing roofing system.

        - Coordinate installation of roofing system so insulation and other components of the roofing membrane system not permanently exposed are not subjected to precipitation or left uncovered at the end of the workday or when rain is forecast.

          - At end of each day's work, provide tie-offs to cover exposed roofing membrane sheets and insulation with a course of coated felt set in roofing cement or hot roofing asphalt, with joints and edges sealed.

          - Complete terminations and base flashings and provide temporary seals to prevent water from entering completed sections of roofing system.

          - Remove and discard temporary seals before beginning work on adjoining roofing.

        - Asphalt Heating:  Do not raise roofing asphalt temperature above equiviscous temperature range more than one hour before time of application.  Do not exceed roofing asphalt manufacturer's recommended temperature limits during roofing asphalt heating.  Do not heat roofing asphalt within 25 deg F  of flash point.  Discard roofing asphalt maintained at a temperature exceeding finished blowing temperature for more than four hours.

        - Substrate-Joint Penetrations:  Prevent roofing asphalt and adhesives from penetrating substrate joints, entering building, or damaging roofing system components or adjacent building construction.

      - BASE-SHEET INSTALLATION

        - Loosely lay one course of sheathing paper, lapping edges and ends a minimum of 2 inches  and 6 inches, respectively.

        - Install lapped base-sheet course, extending sheet over and terminating beyond cants.  Attach base sheet as follows:

          - Adhere to substrate in a solid mopping of hot roofing asphalt.

      - BASE-PLY SHEET INSTALLATION

        - Install glass-fiber base-ply sheets according to roofing system manufacturer's written instructions starting at low point of roofing system.  Align glass-fiber base-ply sheets without stretching.  Extend sheets over and terminate beyond cants.

          - Shingle side laps of glass-fiber base-ply sheets uniformly to ensure that required number of glass-fiber base-ply sheets covers substrate at any point.  Shingle in direction to shed water.

          - Embed each glass-fiber base-ply sheet in a continuous void-free mopping of hot roofing asphalt to form a uniform membrane without glass-fiber base-ply sheets touching.

      - SBS-MODIFIED BITUMINOUS MEMBRANE INSTALLATION

        - Install modified bituminous roofing membrane cap sheet according to roofing manufacturer's written instructions, starting at low point of roofing system.  Extend roofing membrane sheets over and terminate beyond cants, installing as follows:

          - Unroll roofing membrane sheets and allow them to relax for minimum time period required by manufacturer.

          - Adhere to substrate in a solid mopping of hot roofing asphalt applied at not less than 425 deg F.

        - Laps:  Accurately align roofing membrane sheets, without stretching, and maintain uniform side and end laps.  Stagger end laps.  Install roofing membrane sheets so side and end laps shed water. Completely bond and seal laps, leaving no voids.

          - Repair tears and voids in laps and lapped seams not completely sealed.

          - Apply roofing granules to cover exuded bead at laps while bead is hot.

      - FLASHING AND STRIPPING INSTALLATION

        - Install base flashing over cant strips and other sloped and vertical surfaces, at roof edges, and at penetrations through roof; secure to substrates according to roofing system manufacturer's written instructions, and as follows:

          - Prime substrates with asphalt primer if required by roofing system manufacturer.

          - Backer Sheet Application:  Install backer sheet and adhere to substrate in cold-applied adhesive at rate required by roofing system manufacturer.

          - Flashing Sheet Application:  Adhere flashing sheet to substrate in cold-applied adhesive at rate required by roofing system manufacturer.

        - Extend base flashing up walls or parapets a minimum of 12 inches  above built-up roofing and 6 inches  onto field of built-up roofing.

        - Mechanically fasten top of base flashing securely at terminations and perimeter of roofing.

          - Seal top termination of base flashing with a metal termination bar.

        - Install roofing membrane cap-sheet stripping where metal flanges and edgings are set on membrane roofing according to roofing system manufacturer's written instructions.

        - Roof Drains:  Set 30-by-30-inch- square metal flashing in bed of asphalt roofing cement on completed roofing membrane.  Cover metal flashing with roofing membrane cap-sheet stripping and extend a minimum of 6 inches  beyond edge of metal flashing onto field of roofing membrane.  Clamp roofing membrane, metal flashing, and stripping into roof-drain clamping ring.

          - Install stripping according to roofing system manufacturer's written instructions.

      - SURFACING AND COATING INSTALLATION

        - Apply coating to asphalt mastic applied to base flashing laps according to manufacturer's written instructions, by spray, roller, or other suitable application method to provide a dry film thickness of not less than 20 mils.

      - WALKWAY INSTALLATION

        - Walkway Cap Sheet Strips:  Install cap sheet strips, approximately 36 inches  wide and in lengths not exceeding 10 feet, leaving a space of 6 inches between strips.  Install roofing membrane walkway cap sheet strips over roofing membrane in hot roofing asphalt applied at not less than 425 deg F.

      - FIELD QUALITY CONTROL

        - Roofing Inspector:  Contractor shall engage a qualified roofing inspector for a minimum of 9 full-time days on site to perform roof tests and inspections and to prepare start up, interim, and final reports. Roofing Inspector's quality assurance inspections shall comply with criteria established in ARMA/NRCA's "Quality Control Guidelines for the Application of Built-up Roofing."

        - Final Roof Inspection:  Arrange for roofing system manufacturer's technical personnel to inspect roofing installation on completion.

          - Notify Architect and Owner 48 hours in advance of date and time of inspection.

        - Repair or remove and replace components of built-up roofing where test results or inspections indicate that they do not comply with specified requirements.

          - Additional testing and inspecting, at Contractor's expense, will be performed to determine if replaced or additional work complies with specified requirements.

      - PROTECTING AND CLEANING

        - Protect roofing system from damage and wear during remainder of construction period.  When remaining construction will not affect or endanger roofing, inspect roofing for deterioration and damage, describing its nature and extent in a written report, with copies to Architect and Owner.

        - Correct deficiencies in or remove roofing system that does not comply with requirements, repair substrates, and repair or reinstall roofing system to a condition free of damage and deterioration at time of Substantial Completion and according to warranty requirements.

        - Clean overspray and spillage from adjacent construction using cleaning agents and procedures recommended by manufacturer of affected construction.

SECTION CONTINUES

      - ROOFING INSTALLER'S WARRANTY

        - WHEREAS _____________________________________ of _______________________, herein called the "Roofing Installer," has performed roofing and associated work ("work") on the following project:

          - Owner:

          - Address:

          - Building Name/Type:

          - Address:

          - Area of Work:

          - Acceptance Date:

          - Warranty Period:

          - Expiration Date:

        - AND WHEREAS Roofing Installer has contracted (either directly with Owner or indirectly as a subcontractor) to warrant said work against leaks and faulty or defective materials and workmanship for designated Warranty Period,

        - NOW THEREFORE Roofing Installer hereby warrants, subject to terms and conditions herein set forth, that during Warranty Period he will, at his own cost and expense, make or cause to be made such repairs to or replacements of said work as are necessary to correct faulty and defective work and as are necessary to maintain said work in a watertight condition.

        - This Warranty is made subject to the following terms and conditions:

          - Specifically excluded from this Warranty are damages to work and other parts of the building, and to building contents, caused by:

            - lightning;

            - peak gust wind speed exceeding 74 mph;

            - fire;

            - failure of roofing system substrate, including cracking, settlement, excessive deflection, deterioration, and decomposition;

            - faulty construction of parapet walls, copings, chimneys, skylights, vents, equipment supports, and other edge conditions and penetrations of the work;

            - vapor condensation on bottom of roofing; and

            - activity on roofing by others, including construction contractors, maintenance personnel, other persons, and animals, whether authorized or unauthorized by Owner.

          - When work has been damaged by any of foregoing causes, Warranty shall be null and void until such damage has been repaired by Roofing Installer and until cost and expense thereof have been paid by Owner or by another responsible party so designated.

          - Roofing Installer is responsible for damage to work covered by this Warranty but is not liable for consequential damages to building or building contents resulting from leaks or faults or defects of work.

          - During Warranty Period, if Owner allows alteration of work by anyone other than Roofing Installer, including cutting, patching, and maintenance in connection with penetrations, attachment of other work, and positioning of anything on roof, this Warranty shall become null and void on date of said alterations, but only to the extent said alterations affect work covered by this Warranty.  If Owner engages Roofing Installer to perform said alterations, Warranty shall not become null and void unless Roofing Installer, before starting said work, shall have notified Owner in writing, showing reasonable cause for claim, that said alterations would likely damage or deteriorate work, thereby reasonably justifying a limitation or termination of this Warranty.

          - During Warranty Period, if original use of roof is changed and it becomes used for, but was not originally specified for, a promenade, work deck, spray-cooled surface, flooded basin, or other use or service more severe than originally specified, this Warranty shall become null and void on date of said change, but only to the extent said change affects work covered by this Warranty.

          - Owner shall promptly notify Roofing Installer of observed, known, or suspected leaks, defects, or deterioration and shall afford reasonable opportunity for Roofing Installer to inspect work and to examine evidence of such leaks, defects, or deterioration.

          - This Warranty is recognized to be the only warranty of Roofing Installer on said work and shall not operate to restrict or cut off Owner from other remedies and resources lawfully available to Owner in cases of roofing failure.  Specifically, this Warranty shall not operate to relieve Roofing Installer of responsibility for performance of original work according to requirements of the Contract Documents, regardless of whether Contract was a contract directly with Owner or a subcontract with Owner's General Contractor.

        - IN WITNESS THEREOF, this instrument has been duly executed by:

          - Authorized Signature:

          - Name:

          - Date:

END OF SECTION 07 52 16.11